## Slide 1: Intro to Image Registration
Iman Aganj
Athinoula A. Martinos Center for Biomedical Imaging, MGH / HMS
Computer Science and Artificial Intelligence Laboratory, MIT
October 4, 2018
FreeSurfer Course

## Slide 2
Image Registration
Spatial Correspondence
Photo by:
Manu H., pentaxforums.com
Photo by:
David L. Ryan, Boston Globe
Notes: In a different set of experiments, we registered coronal slices of 40 pairs of MR images with manually labeled neuroanatomical structures. We computed the portion of the voxels with matching labels after registration in left/right amygdala, caudate, hippocampus, pallidum, putamen, and thalamus. When the labels were compared in the native space of image 1, the two methods achieved on similar scores, but when the scores were computed in the native space of image 2, the proposed method resulted in slightly higher score than the symmetrization approach did. We then computed the average Dice’s similarity coefficient across all the labels. In the native space of image 1, the symmetrization approach produced significantly higher similarity score compared to the proposed method. In the native space of 𝐼_2, however, the two algorithms performed similarly.

## Slide 3
Intrasubject Image Registration
Multiple Contrasts
Brain images from the RIRE dataset (Fitzpatrick et al, IEEE Trans Med Imag, 1998)
T1
T2
PET
PD
CT
Notes: In a different set of experiments, we registered coronal slices of 40 pairs of MR images with manually labeled neuroanatomical structures. We computed the portion of the voxels with matching labels after registration in left/right amygdala, caudate, hippocampus, pallidum, putamen, and thalamus. When the labels were compared in the native space of image 1, the two methods achieved on similar scores, but when the scores were computed in the native space of image 2, the proposed method resulted in slightly higher score than the symmetrization approach did. We then computed the average Dice’s similarity coefficient across all the labels. In the native space of image 1, the symmetrization approach produced significantly higher similarity score compared to the proposed method. In the native space of 𝐼_2, however, the two algorithms performed similarly.

## Slide 4
Intrasubject Image Registration
Longitudinal Images
Brain images from the ADNI dataset (adni.loni.usc.edu)
Baseline
3 months
6 months
2 years
1 year
Notes: In a different set of experiments, we registered coronal slices of 40 pairs of MR images with manually labeled neuroanatomical structures. We computed the portion of the voxels with matching labels after registration in left/right amygdala, caudate, hippocampus, pallidum, putamen, and thalamus. When the labels were compared in the native space of image 1, the two methods achieved on similar scores, but when the scores were computed in the native space of image 2, the proposed method resulted in slightly higher score than the symmetrization approach did. We then computed the average Dice’s similarity coefficient across all the labels. In the native space of image 1, the symmetrization approach produced significantly higher similarity score compared to the proposed method. In the native space of 𝐼_2, however, the two algorithms performed similarly.

## Slide 5
Inter-subject Image Registration
Group Analysis & Comparison
Brain images from the OASIS database (Marcus et al, J Cogn Neurosci, 2007)
Subject 1
Subject 2
Subject 4
Subject 3
Subject 1
Subject 2
Subject 4
Subject 3
Group 1
Group 2
Notes: In a different set of experiments, we registered coronal slices of 40 pairs of MR images with manually labeled neuroanatomical structures. We computed the portion of the voxels with matching labels after registration in left/right amygdala, caudate, hippocampus, pallidum, putamen, and thalamus. When the labels were compared in the native space of image 1, the two methods achieved on similar scores, but when the scores were computed in the native space of image 2, the proposed method resulted in slightly higher score than the symmetrization approach did. We then computed the average Dice’s similarity coefficient across all the labels. In the native space of image 1, the symmetrization approach produced significantly higher similarity score compared to the proposed method. In the native space of 𝐼_2, however, the two algorithms performed similarly.

## Slide 6
Image Registration
Linear Alignment
Notes: In a different set of experiments, we registered coronal slices of 40 pairs of MR images with manually labeled neuroanatomical structures. We computed the portion of the voxels with matching labels after registration in left/right amygdala, caudate, hippocampus, pallidum, putamen, and thalamus. When the labels were compared in the native space of image 1, the two methods achieved on similar scores, but when the scores were computed in the native space of image 2, the proposed method resulted in slightly higher score than the symmetrization approach did. We then computed the average Dice’s similarity coefficient across all the labels. In the native space of image 1, the symmetrization approach produced significantly higher similarity score compared to the proposed method. In the native space of 𝐼_2, however, the two algorithms performed similarly.

## Slide 7
Image Registration
Deformable Alignment
before
after registered to before
after
Notes: Image registration is useful in population and longitudinal studies. Non-rigid pairwise image registration provides a dense point-wise correspondence between the two input images.

## Slide 8
Sum-of-squared-differences data term:
Image Registration Objective Function
Same-Contrast Images
: Images
: Transformation
Notes: A change of variables and further calculation reveal that the data term is, remarkably, only a function of , the transformation that takes one image to the other. So, we can minimize this data term directly with respect to , as opposed to the previous methods that optimize their cost functions with respect to both and , conditioned to constraints that prevent the mid-space drift. With this data term being independent of and , the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both and . In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.
A change of variables and further calculation reveal that the data term is, remarkably, only a function of 𝑇, the transformation that takes one image to the other. So, we can minimize this data term directly with respect to 𝑇, as opposed to the previous methods that optimize their cost functions with respect to both 𝑇_1 and 𝑇_2, conditioned to constraints that prevent the mid-space drift. With this data term being independent of 𝑇_1 and 𝑇_2, the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both 𝑇_1 and 𝑇_2. In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.

## Slide 9
Image Registration Objective Function
Same-Contrast Images
Notes: A change of variables and further calculation reveal that the data term is, remarkably, only a function of , the transformation that takes one image to the other. So, we can minimize this data term directly with respect to , as opposed to the previous methods that optimize their cost functions with respect to both and , conditioned to constraints that prevent the mid-space drift. With this data term being independent of and , the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both and . In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.
A change of variables and further calculation reveal that the data term is, remarkably, only a function of 𝑇, the transformation that takes one image to the other. So, we can minimize this data term directly with respect to 𝑇, as opposed to the previous methods that optimize their cost functions with respect to both 𝑇_1 and 𝑇_2, conditioned to constraints that prevent the mid-space drift. With this data term being independent of 𝑇_1 and 𝑇_2, the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both 𝑇_1 and 𝑇_2. In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.

## Slide 10
Image Registration Objective Function
Multi-Contrast Images
Joint Histogram
Joint Entropy
(Mutual Information, Normalized Mutual Information, etc.)
(Wells et al, MedIA’96; Maes et al, TMI’97; Studholme et al, SPIE’98)
Brain images from the BrainWeb database (Collins et al, IEEE Trans Med Imag, 1998)
Notes: A change of variables and further calculation reveal that the data term is, remarkably, only a function of , the transformation that takes one image to the other. So, we can minimize this data term directly with respect to , as opposed to the previous methods that optimize their cost functions with respect to both and , conditioned to constraints that prevent the mid-space drift. With this data term being independent of and , the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both and . In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.
A change of variables and further calculation reveal that the data term is, remarkably, only a function of 𝑇, the transformation that takes one image to the other. So, we can minimize this data term directly with respect to 𝑇, as opposed to the previous methods that optimize their cost functions with respect to both 𝑇_1 and 𝑇_2, conditioned to constraints that prevent the mid-space drift. With this data term being independent of 𝑇_1 and 𝑇_2, the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both 𝑇_1 and 𝑇_2. In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.

## Slide 11
Interpolation & Resampling
Notes: A change of variables and further calculation reveal that the data term is, remarkably, only a function of , the transformation that takes one image to the other. So, we can minimize this data term directly with respect to , as opposed to the previous methods that optimize their cost functions with respect to both and , conditioned to constraints that prevent the mid-space drift. With this data term being independent of and , the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both and . In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.
A change of variables and further calculation reveal that the data term is, remarkably, only a function of 𝑇, the transformation that takes one image to the other. So, we can minimize this data term directly with respect to 𝑇, as opposed to the previous methods that optimize their cost functions with respect to both 𝑇_1 and 𝑇_2, conditioned to constraints that prevent the mid-space drift. With this data term being independent of 𝑇_1 and 𝑇_2, the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both 𝑇_1 and 𝑇_2. In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.

## Slide 12
Asymmetry due to Resampling
Interpolation Artifacts
Resampling Artifacts
Notes: A change of variables and further calculation reveal that the data term is, remarkably, only a function of , the transformation that takes one image to the other. So, we can minimize this data term directly with respect to , as opposed to the previous methods that optimize their cost functions with respect to both and , conditioned to constraints that prevent the mid-space drift. With this data term being independent of and , the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both and . In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.
A change of variables and further calculation reveal that the data term is, remarkably, only a function of 𝑇, the transformation that takes one image to the other. So, we can minimize this data term directly with respect to 𝑇, as opposed to the previous methods that optimize their cost functions with respect to both 𝑇_1 and 𝑇_2, conditioned to constraints that prevent the mid-space drift. With this data term being independent of 𝑇_1 and 𝑇_2, the mid-space disappears, also eliminating the problem of the mid-space drift. We don’t need to enforce any anti-drift constraints anymore, and we won’t bias the space of possible transformations by the particular choice of such constraints. This is all while keeping the degrees of freedom of the optimization half of that of the unconstrained problem of solving for both 𝑇_1 and 𝑇_2. In addition, one can verify the symmetry of this data term, which, however, holds only in the continuous domain. In the discrete case, where one image is resampled and the other is not, discretization artifacts may produce a bias.

## Slide 13
Asymmetry in Non-Rigid Registration
Notes: In pairwise deformable image registration, we often minimize a cost function while deforming one image or both of them. The choice of the reference image affects the registration, thereby breaking the registration symmetry.

## Slide 14
Notes: In pairwise deformable image registration, we often minimize a cost function while deforming one image or both of them. The choice of the reference image affects the registration, thereby breaking the registration symmetry.

## Slide 15
Asymmetry in Deformable Registration
Brother Bear, © Disney
Notes: In pairwise deformable image registration, we often minimize a cost function while deforming one image or both of them. The choice of the reference image affects the registration, thereby breaking the registration symmetry.

## Slide 16
Mid-Space
: Images
: Transformations
(Lorenzen et al, MedIA’06; Avants et al, NI’04; Yang et al, PMB’08)
Mid-Space Approach to Symmetry
Notes: In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations and that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, , that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict and to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.
In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations 𝑇_1 and 𝑇_2 that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, 𝑇=𝑇_2∘𝑇_1^(−1), that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images, for example due to large changes in 𝑇_1 and 𝑇_2, which decreases the mid-space cost function without changing the final transformation 𝑇. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict 𝑇_1 and 𝑇_2 to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.

## Slide 17
Regularization
: Transformation by sorting and matching pixel intensities
Example proposed by Rohlﬁng et al (IEEE Trans Med Imag, 2012)
Notes: In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations and that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, , that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict and to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.
In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations 𝑇_1 and 𝑇_2 that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, 𝑇=𝑇_2∘𝑇_1^(−1), that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images, for example due to large changes in 𝑇_1 and 𝑇_2, which decreases the mid-space cost function without changing the final transformation 𝑇. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict 𝑇_1 and 𝑇_2 to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.

## Slide 18
Regularization
(Diffeomorphism)
(Vercauteren et al, NeuroImage, 2009)
Notes: In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations and that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, , that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict and to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.
In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations 𝑇_1 and 𝑇_2 that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, 𝑇=𝑇_2∘𝑇_1^(−1), that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images, for example due to large changes in 𝑇_1 and 𝑇_2, which decreases the mid-space cost function without changing the final transformation 𝑇. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict 𝑇_1 and 𝑇_2 to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.

## Slide 19
Regularization
Notes: In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations and that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, , that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict and to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.
In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations 𝑇_1 and 𝑇_2 that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, 𝑇=𝑇_2∘𝑇_1^(−1), that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images, for example due to large changes in 𝑇_1 and 𝑇_2, which decreases the mid-space cost function without changing the final transformation 𝑇. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict 𝑇_1 and 𝑇_2 to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.

## Slide 20
Validation of Registration
Manual Landmarks
CT images from DIR-LAB (Castillo et al, Phys Med Biol, 2009)
Notes: In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations and that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, , that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict and to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.
In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations 𝑇_1 and 𝑇_2 that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, 𝑇=𝑇_2∘𝑇_1^(−1), that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images, for example due to large changes in 𝑇_1 and 𝑇_2, which decreases the mid-space cost function without changing the final transformation 𝑇. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict 𝑇_1 and 𝑇_2 to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.

## Slide 21
Validation of Registration
Manual Labels
Label images of the “Buckner 40” dataset (Fischl et al, Neuron, 2002)
Notes: In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations and that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, , that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict and to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.
In a common approach to achieve symmetry, both images are deformed and compared in a mid-space, which makes the registration invariant with respect to the ordering of the images. Such methods essentially minimize their cost functions with respect to two transformations 𝑇_1 and 𝑇_2 that take the two input images to the mid-space. Without additional constraints, however, this increases the degrees of freedom of the problem twofold, since the end result of pairwise registration is really one transformation, 𝑇=𝑇_2∘𝑇_1^(−1), that takes the second input image to the first. In addition, the mid-space can drift arbitrarily far away from the native spaces of the images, for example due to large changes in 𝑇_1 and 𝑇_2, which decreases the mid-space cost function without changing the final transformation 𝑇. To alleviate these issues, some additional anti-drift constraints are used to keep the mid-space “in between” the native spaces of the two images. For example, they may restrict 𝑇_1 and 𝑇_2 to have opposite displacement fields, or to be the inverse of each other. The choice of the anti-drift constraints may bias the registration algorithm towards favoring a particular set of transformations, and therefore affect the results.

## Slide 22
Thank You!